## Transformer
PN | Vendor | Description | Agency | MOQ | Cost[\] | 수량 | 구매수량 | 재고-2/24 | 상품코드
MVG16VC220MF80 | SAMYOUNG | 220uF/16V ALUMINUM CAPACITORS 6.3pi | 디바이스마트 | 10 | 90 | 10 | 50 | 46 | P002101847 | SMD E/C 16V 220uF (85℃)/6.3Ø x8mm
T491D227K016AT | KEMET | CAP TANT 220UF 16V 10% 2917 | ICbanQ | 5 | 2280 | 10 | 10 | 3 | P007223445
NTD5802N | ON Semiconductor | Power MOSFET 40V, Single N−Channel, 101A DPAK | ICbanQ | 1 | 1260 | 2 | 6 | 2 | P000740132
NVMFS5C450NL | ON Semiconductor | 40V, 2.8mOhm , 110A, Single N−Channel Power MOSFET | ICbanQ | 1 | 960 | 20 | 20 | 1 | P007567011
CTX210605-R | COOPER BUSSMANN | TRANSFORMER CCFL 6W 20V 11MA SMD Turn-R:67 | ICbanQ | 1 | 7100 | 2 | 2 | 0 | P005831162
CTX210609-R | COOPER BUSSMANN | TRANSFORMER CCFL 6W 13V 11MA SMD Turn-R:100 | ICbanQ | 1 | 11090 |  | 2 | 0 | P002058985
CTX210611-R | COOPER BUSSMANN | TRANSFORMER CCFL 6W | ICbanQ | 2 | 13200 | 4 | 4 | 0 | B180212004001
53398-0471 | Molex | 1.25mm 4-Pin SMD Straght 1A HEADER | ICbanQ | 100 | 130 | 10 | 100 | 89 | P005634281
51021-0400 | Molex | 1.25mm 4-Pin Housing, Female | ICbanQ | 10 | 210 |  | 30 | 14 | P007073878
50058-8000 | Molex | CRIMP TERMINAL 51021용 (1.25mm) AWG 28,30,32 | ICbanQ | 100 | 20 | 20 | 200 | 100 | P008221708
PN | Vendor | Description | Agency | MOQ | Cost[\] | 수량 | Cost[\] | 재고 | 상품코드
53261-0371 | Molex | 1.25mm 3-Pin SMD RA 1A HEADER | ICbanQ | 100 | 90 |  | 9000 |  |  | 650 | 2260
|  |  | ICbanQ | 10 | 440 |  | 4400 |  |  | 325000 | 22600
53261-0471 | Molex | 1.25mm 4-Pin SMD RA 1A HEADER | 디바이스마트 | 1 | 300 | 10 | 3000
|  |  | ICbanQ | 1 | 1140 | 10 | 11400
2/5일 구매
P_value | Q'ty | Description | Agency | MOQ | Cost[\] | 구매수량 | Total | 재고 | 상품코드
MVG16VC220MF80 | 1 | 220uF 16V ALUMINUM CAPACITORS 6.3pi | ICbanQ | 50 | 100 | 50 | 5000 |  | P002101847
NTD5802N | 2 | Power MOSFET 40V, Single N-Channel, 101A DPAK | ICbanQ | 1 | 1260 | 6 | 7560 |  | P000740132
NVMFS5C450NL | 2 | 40V, 2.8mOhm , 110A, Single N−Channel Power MOSFET | ICbanQ | 1 | 960 | 20 | 16400 |  | P007567011
53398-0471 | 1 | 1.25mm 4-Pin SMD Straght 1A HEADER | ICbanQ | 100 | 130 | 100 | 13000 |  | P005634281
CTX210605-R | 1 | TRANSFORMER CCFL 6W | ICbanQ | 2 | 7100 | 2 | 14200 | 재고 없음 | P005831162
CTX210607-R | 1 | TRANSFORMER CCFL 6W | ICbanQ | 1 | 10080 | 2 | 20160 | 재고 없음 | P002058197
CTX210609-R | 1 | TRANSFORMER CCFL 6W 13V 11MA SMD Turn-R:100 | ICbanQ | 1 | 11090 | 2 | 22180 |  | P002058985
51021-0400 | 1 | 1.25mm 4-Pin Housing, Female | ICbanQ | 5 | 210 | 30 | 6300 |  | P007073878
50058-8000 | 4 | CRIMP TERMINAL 51021용 (1.25mm) AWG 28,30,32 | ICbanQ | 100 | 20 | 200 | 4000 | 장보고 재고 있음 | P008221708
[6 empty] | 부품 Total | 108800
[6 empty] | 부가세 | 10880
[6 empty] | Total | 119680
2/8일 구매
P_value | Q'ty | Description | Agency | MOQ | Cost[\] | 구매수량 | Total | 재고 | 상품코드
CTX210605-R | 1 | TRANSFORMER CCFL 6W | ICbanQ | 2 | 7100 | 2 | 14200 |  | P005831162
CTX210609-R | 1 | TRANSFORMER CCFL 6W 13V 11MA SMD Turn-R:100 | ICbanQ | 1 | 11090 | 2 | 22180 | 재고 없음 | P002058985
T491D227K016AT | 10 | CAP TANT 220UF 16V 10% 2917 | ICbanQ | 5 | 2280 | 10 | 22800 |  | P007223445
59180
[6 empty] | 부가세 | 5918
65098
2/12일 구매
P_value | Q'ty | Description | Agency | MOQ | Cost[\] | 구매수량 | Total | 재고 | 주문번호
CTX210611-R | 1 | TRANSFORMER CCFL 6W | ICbanQ | 2 | 13200 | 4 | 52800 |  | B180212004001
52800
[6 empty] | 부가세 | 5280
58080

## Sheet3
9.12 | 5.1 | 3.87 | 2.37
4.56 | 2.55 | 1.935 | 1.185 | 3.12
2.43
1.215
7.6 | 4.6
3.8 | 2.3

## MOSFET
PN | Vendor | Description | Agency | MOQ | Cost[\]
NTD5802N | ON Semiconductor | 40 V, 7.8 m , 50 A,Single N−Channel, DPAK | ICbanQ | 1 | 1260
NTMFS5C604NL | ON Semiconductor | 60 V, 1.2 m , 287 A, Single N−Channel
NTMFS5C468NL | ON Semiconductor | 40 V, 10.3 m , 37 A, Single N−Channel
BSC160N10NS3 G | infineon | 100 V, 16 m , 42 A, Single N−Channel
BSC160N10NS3 G | ON Semiconductor | 30 V, 0.9m , 47 A, Single N−Channel
NVMFS5C450NL | ON Semiconductor | 40 V, 2.8 m , 110 A, Single N−Channel | ICbanQ | 1 | 960 | P007567011
NVMFS5C673NL | ON Semiconductor | 60 V, 9.2 m , 50 A, Single N−Channel | ICbanQ | 1 | 1050 | P007567159
[7 empty] | 1.33 | 0.75 | 1.27 | 3.2 | 5.1 | 4.53 | 6.1
[7 empty] | 0.965 | 0.375 | 0.635 | 2.795 | 2.55 | 0.965 | 3.05
[7 empty] | 0.5 |  |  | -0.5 |  | 1
[7 empty] | 2.795 |  |  | 5.495 |  | 6.495
-6.1
0.395
0.1975
[7 empty] | 3.2 | 1.33 | 4.53
[7 empty] | -1 | 0.965 | 0.965
[7 empty] | 2.2 | 2.295 | 1
6.495
[10 empty] | 3.2 | 1.33
0.965
1
3.295
[7 empty] | 4.56 |  |  | 3.2
[7 empty] | 2.28 | 1.33 |  | -0.5
2.7
[7 empty] | -2.28 | -1.33 | 2.28 | 2.7
2.28
0.495
2.775
[7 empty] | -2.775 | -0.905 | -2.28 | 0

## Pipette
| PN | Vendor | Description | P_size | Height | Agency | MOQ | Cost[\] | 수량 | Cost[\] | 재고 | 상품코드
| 053048-0410 | Molex | 1.25mm Pitch CON,4-Pin, Dip Right angle_Molex |  | 3.5mm | ICbanQ | 10 | 130 |  |  |  | P005634295
| 053048-0310 |  | 1.25mm Pitch CON,3-Pin, Dip Right angle_Molex |  | 3.5mm | ICbanQ | 10 | 110
Slide Key
| CSS-1310TB | Nidec Copal Electronics Corporation | SP3T slide Switch, SMD Right Angle, key 2x0.6 | 3.0x12.5 | 2.00mm | ICbanQ | 1900 | 450 |  |  |  | P000394663
|  |  |  | 3.0x12.5 | 2.00mm | ICbanQ | 1 | 790 |  |  |  | P006911086
| CSS-1310MC | Nidec Copal Electronics Corporation | SP3T slide Switch, DIP Right Angle, key 2x0.6 | 3.0x12.5 | 2.00mm | ICbanQ | 1 | 700 |  |  |  | P000394667
| CSS-1300C | Nidec Copal Electronics Corporation | SP3T slide Switch, Straight DIP, key 2x0.6
| CL-SB-13A-1x | Nidec Copal Electronics Corporation | SP3T slide Switch, SMD J-hook Right Angle, key 2x1.5 | 3.5x12 | 3.5mm
| CL-SB-13B-11T | Nidec Copal Electronics Corporation | SP3T slide Switch, SMD Right Angle, key 2x1.5 | 3.5x12 | 3.5mm | ICbanQ | 1 | 1240 |  |  |  | P006914254
| CL-SB-13C-11 | Nidec Copal Electronics Corporation | SP3T slide Switch, DIP Right Angle, key 2x1.5 | 3.5x12 | 3.5mm | ICbanQ | 1 | 1170 |  |  |  | P006913975
| CMS-2314A | Nidec Copal Electronics Corporation | DP3T slide Switch, SMD J-hook Right Angle, key 4x1.5 | 5.4x15 | 3.5mm
Status LED
| SDS5050TCU-S-AP-A | (주)디웰전자 | 5.0x5.0x1.6 size, RGB full coler, SMD파워 3색 LED |  |  | ICbanQ | 1 | 490 |  |  |  | P002343866
| LTST-C19HE1WT | Lite-On Inc | LED RGB DIFFUSED 0606 SMD - 0.35T |  |  | ICbanQ | 1 | 680 |  |  |  | P008219901
| ASMT-YTD2-0BB02 | Avago | 3 color type LED 6-pin, TOP View, R745mcd, G1600mcd, B380mcd | 3.4x2.8 | 2.00mm | ICbanQ | 1 | 1990 |  |  |  | P000725384
| LTST-C19FD1WT | Lite-On Inc | LED OGB DIFFUSED 0608 SMD - 0.55T |  |  | ICbanQ | 1 | 620 |  |  |  | P001586603
| LTSN-N213EGBW | Lite-On Inc
GAS CON
| 12512WS-02B | YEONHO | CON 2-pin, Throgh hole type | 5.0x3.6 | 4.2mm
| 053048-0210 | Molex | 1.25mm Pitch CON,2-Pin, Dip Right angle_Molex | 4.25x5.5 | 3.5mm