## 개발비
S/W |  | Month | Day[20/M] | Hour[3/D] | 시급 | 가중치 | 총액 | 계약금액
1차 | Pipette | 1 | 20 | 60 | 25000 | 0.8 | 1200000 | 1000000
| Touch PC - Origin | 1.5 | 30 | 90 | 25000 | 0.8 | 1800000
| LF Gen MCU - Origin | 0.5 | 10 | 30 | 25000 | 0.8 | 600000
| LF Ctrl MCU - Origin | 1 | 20 | 60 | 25000 | 0.8 | 1200000
2차 | Pipette | 0.5 | 10 | 30 | 25000 | 0.8 | 600000
| Touch PC - New | 2 | 40 | 120 | 25000 | 0.8 | 2400000
| Touch PC - WIFI | 1 | 20 | 60 | 25000 | 0.8 | 1200000
| Touch PC - PC Program | 1 | 20 | 60 | 25000 | 0.8 | 1200000
| LF Ctrl MCU - New | 0.5 | 10 | 30 | 25000 | 0.8 | 600000
M/E |  | Month | Day[20/M] | Hour[3/D] | 시급 | 가중치 | 총액 | 계약금액
Pipette | 1차 | 3 | 60 | 180 | 23000 | 1 | 4140000 | 1000000
|  |  | 0 | 0 | 23000 | 1 | 0
|  |  | 0 | 0 | 23000 | 1 | 0
|  |  | 0 | 0 | 23000 | 1 | 0
| Touch PC - Origin | 1.5 | 1 | 3 | 25000 | 1 | 75000

## Transformer
PN | Vendor | Description | Agency | MOQ | Cost[\] | 수량 | 구매수량 | 재고-2/24 | 상품코드
MVG16VC220MF80 | SAMYOUNG | 220uF/16V ALUMINUM CAPACITORS 6.3pi | 디바이스마트 | 10 | 90 | 10 | 50 | 46 | P002101847 | SMD E/C 16V 220uF (85℃)/6.3Ø x8mm
T491D227K016AT | KEMET | CAP TANT 220UF 16V 10% 2917 | ICbanQ | 5 | 2280 | 10 | 10 | 3 | P007223445
NTD5802N | ON Semiconductor | Power MOSFET 40V, Single N−Channel, 101A DPAK | ICbanQ | 1 | 1260 | 2 | 6 | 2 | P000740132
NVMFS5C450NL | ON Semiconductor | 40V, 2.8mOhm , 110A, Single N−Channel Power MOSFET | ICbanQ | 1 | 960 | 20 | 20 | 1 | P007567011
CTX210605-R | COOPER BUSSMANN | TRANSFORMER CCFL 6W 20V 11MA SMD Turn-R:67 | ICbanQ | 1 | 7100 | 2 | 2 | 0 | P005831162
CTX210609-R | COOPER BUSSMANN | TRANSFORMER CCFL 6W 13V 11MA SMD Turn-R:100 | ICbanQ | 1 | 11090 |  | 2 | 0 | P002058985
CTX210611-R | COOPER BUSSMANN | TRANSFORMER CCFL 6W | ICbanQ | 2 | 13200 | 4 | 4 | 0 | B180212004001
53398-0471 | Molex | 1.25mm 4-Pin SMD Straght 1A HEADER | ICbanQ | 100 | 130 | 10 | 100 | 89 | P005634281
51021-0400 | Molex | 1.25mm 4-Pin Housing, Female | ICbanQ | 10 | 210 |  | 30 | 14 | P007073878
50058-8000 | Molex | CRIMP TERMINAL 51021용 (1.25mm) AWG 28,30,32 | ICbanQ | 100 | 20 | 20 | 200 | 100 | P008221708
PN | Vendor | Description | Agency | MOQ | Cost[\] | 수량 | Cost[\] | 재고 | 상품코드
53261-0371 | Molex | 1.25mm 3-Pin SMD RA 1A HEADER | ICbanQ | 100 | 90 |  | 9000 |  |  | 650 | 2260
|  |  | ICbanQ | 10 | 440 |  | 4400 |  |  | 325000 | 22600
53261-0471 | Molex | 1.25mm 4-Pin SMD RA 1A HEADER | 디바이스마트 | 1 | 300 | 10 | 3000
|  |  | ICbanQ | 1 | 1140 | 10 | 11400
2/5일 구매
P_value | Q'ty | Description | Agency | MOQ | Cost[\] | 구매수량 | Total | 재고 | 상품코드
MVG16VC220MF80 | 1 | 220uF 16V ALUMINUM CAPACITORS 6.3pi | ICbanQ | 50 | 100 | 50 | 5000 |  | P002101847
NTD5802N | 2 | Power MOSFET 40V, Single N-Channel, 101A DPAK | ICbanQ | 1 | 1260 | 6 | 7560 |  | P000740132
NVMFS5C450NL | 2 | 40V, 2.8mOhm , 110A, Single N−Channel Power MOSFET | ICbanQ | 1 | 960 | 20 | 16400 |  | P007567011
53398-0471 | 1 | 1.25mm 4-Pin SMD Straght 1A HEADER | ICbanQ | 100 | 130 | 100 | 13000 |  | P005634281
CTX210605-R | 1 | TRANSFORMER CCFL 6W | ICbanQ | 2 | 7100 | 2 | 14200 | 재고 없음 | P005831162
CTX210607-R | 1 | TRANSFORMER CCFL 6W | ICbanQ | 1 | 10080 | 2 | 20160 | 재고 없음 | P002058197
CTX210609-R | 1 | TRANSFORMER CCFL 6W 13V 11MA SMD Turn-R:100 | ICbanQ | 1 | 11090 | 2 | 22180 |  | P002058985
51021-0400 | 1 | 1.25mm 4-Pin Housing, Female | ICbanQ | 5 | 210 | 30 | 6300 |  | P007073878
50058-8000 | 4 | CRIMP TERMINAL 51021용 (1.25mm) AWG 28,30,32 | ICbanQ | 100 | 20 | 200 | 4000 | 장보고 재고 있음 | P008221708
[6 empty] | 부품 Total | 108800
[6 empty] | 부가세 | 10880
[6 empty] | Total | 119680
2/8일 구매
P_value | Q'ty | Description | Agency | MOQ | Cost[\] | 구매수량 | Total | 재고 | 상품코드
CTX210605-R | 1 | TRANSFORMER CCFL 6W | ICbanQ | 2 | 7100 | 2 | 14200 |  | P005831162
CTX210609-R | 1 | TRANSFORMER CCFL 6W 13V 11MA SMD Turn-R:100 | ICbanQ | 1 | 11090 | 2 | 22180 | 재고 없음 | P002058985
T491D227K016AT | 10 | CAP TANT 220UF 16V 10% 2917 | ICbanQ | 5 | 2280 | 10 | 22800 |  | P007223445
59180
[6 empty] | 부가세 | 5918
65098
2/12일 구매
P_value | Q'ty | Description | Agency | MOQ | Cost[\] | 구매수량 | Total | 재고 | 주문번호
CTX210611-R | 1 | TRANSFORMER CCFL 6W | ICbanQ | 2 | 13200 | 4 | 52800 |  | B180212004001
52800
[6 empty] | 부가세 | 5280
58080

## Sheet3
9.12 | 5.1 | 3.87 | 2.37
4.56 | 2.55 | 1.935 | 1.185 | 3.12
2.43
1.215
7.6 | 4.6
3.8 | 2.3

## MOSFET
PN | Vendor | Description | Agency | MOQ | Cost[\]
NTD5802N | ON Semiconductor | 40 V, 7.8 m , 50 A,Single N−Channel, DPAK | ICbanQ | 1 | 1260
NTMFS5C604NL | ON Semiconductor | 60 V, 1.2 m , 287 A, Single N−Channel
NTMFS5C468NL | ON Semiconductor | 40 V, 10.3 m , 37 A, Single N−Channel
BSC160N10NS3 G | infineon | 100 V, 16 m , 42 A, Single N−Channel
BSC160N10NS3 G | ON Semiconductor | 30 V, 0.9m , 47 A, Single N−Channel
NVMFS5C450NL | ON Semiconductor | 40 V, 2.8 m , 110 A, Single N−Channel | ICbanQ | 1 | 960 | P007567011
NVMFS5C673NL | ON Semiconductor | 60 V, 9.2 m , 50 A, Single N−Channel | ICbanQ | 1 | 1050 | P007567159
[7 empty] | 1.33 | 0.75 | 1.27 | 3.2 | 5.1 | 4.53 | 6.1
[7 empty] | 0.965 | 0.375 | 0.635 | 2.795 | 2.55 | 0.965 | 3.05
[7 empty] | 0.5 |  |  | -0.5 |  | 1
[7 empty] | 2.795 |  |  | 5.495 |  | 6.495
-6.1
0.395
0.1975
[7 empty] | 3.2 | 1.33 | 4.53
[7 empty] | -1 | 0.965 | 0.965
[7 empty] | 2.2 | 2.295 | 1
6.495
[10 empty] | 3.2 | 1.33
0.965
1
3.295
[7 empty] | 4.56 |  |  | 3.2
[7 empty] | 2.28 | 1.33 |  | -0.5
2.7
[7 empty] | -2.28 | -1.33 | 2.28 | 2.7
2.28
0.495
2.775
[7 empty] | -2.775 | -0.905 | -2.28 | 0

## Pipette
| PN | Vendor | Description | P_size | Height | Agency | MOQ | Cost[\] | 수량 | Cost[\] | 재고 | 상품코드
| 053048-0410 | Molex | 1.25mm Pitch CON,4-Pin, Dip Right angle_Molex |  | 3.5mm | ICbanQ | 10 | 130 |  |  |  | P005634295
| 053048-0310 |  | 1.25mm Pitch CON,3-Pin, Dip Right angle_Molex |  | 3.5mm | ICbanQ | 10 | 110
Slide Key
| CSS-1310TB | Nidec Copal Electronics Corporation | SP3T slide Switch, SMD Right Angle, key 2x0.6 | 3.0x12.5 | 2.00mm | ICbanQ | 1900 | 450 |  |  |  | P000394663
|  |  |  | 3.0x12.5 | 2.00mm | ICbanQ | 1 | 790 |  |  |  | P006911086
| CSS-1310MC | Nidec Copal Electronics Corporation | SP3T slide Switch, DIP Right Angle, key 2x0.6 | 3.0x12.5 | 2.00mm | ICbanQ | 1 | 700 |  |  |  | P000394667
| CSS-1300C | Nidec Copal Electronics Corporation | SP3T slide Switch, Straight DIP, key 2x0.6
| CL-SB-13A-1x | Nidec Copal Electronics Corporation | SP3T slide Switch, SMD J-hook Right Angle, key 2x1.5 | 3.5x12 | 3.5mm
| CL-SB-13B-11T | Nidec Copal Electronics Corporation | SP3T slide Switch, SMD Right Angle, key 2x1.5 | 3.5x12 | 3.5mm | ICbanQ | 1 | 1240 |  |  |  | P006914254
| CL-SB-13C-11 | Nidec Copal Electronics Corporation | SP3T slide Switch, DIP Right Angle, key 2x1.5 | 3.5x12 | 3.5mm | ICbanQ | 1 | 1170 |  |  |  | P006913975
| CMS-2314A | Nidec Copal Electronics Corporation | DP3T slide Switch, SMD J-hook Right Angle, key 4x1.5 | 5.4x15 | 3.5mm
Status LED
| SDS5050TCU-S-AP-A | (주)디웰전자 | 5.0x5.0x1.6 size, RGB full coler, SMD파워 3색 LED |  |  | ICbanQ | 1 | 490 |  |  |  | P002343866
| LTST-C19HE1WT | Lite-On Inc | LED RGB DIFFUSED 0606 SMD - 0.35T |  |  | ICbanQ | 1 | 680 |  |  |  | P008219901
| ASMT-YTD2-0BB02 | Avago | 3 color type LED 6-pin, TOP View, R745mcd, G1600mcd, B380mcd | 3.4x2.8 | 2.00mm | ICbanQ | 1 | 1990 |  |  |  | P000725384
| LTST-C19FD1WT | Lite-On Inc | LED OGB DIFFUSED 0608 SMD - 0.55T |  |  | ICbanQ | 1 | 620 |  |  |  | P001586603
| LTSN-N213EGBW | Lite-On Inc
GAS CON
| 12512WS-02B | YEONHO | CON 2-pin, Throgh hole type | 5.0x3.6 | 4.2mm
| 53048-0210 | Molex | 1.25mm Pitch CON,2-Pin, Dip Right angle_Molex | 4.25x5.5 | 3.5mm
| 53048-0310 | Molex | 1.25mm Pitch CON,3-Pin, Dip Right angle_Molex | 5.50x5.5 | 3.5mm
| 53048-0410 | Molex | 1.25mm Pitch CON,4-Pin, Dip Right angle_Molex | 6.75x5.5 | 3.5mm
| 53261-0371 | Molex | 1.25mm Pitch CON,3-Pin, SMT Right angle_Molex
| 51021-0400 | Molex | 1.25mm 4-Pin Housing, Female
| 50058-8000 | Molex | CRIMP TERMINAL 51021용 (1.25mm) AWG 28,30,32

## 0331
P_value | Vendor | Description | Agency | Q'ty | Cost[\] | MOQ | 구매수량 | Total | 재고 | 주문번호
EX-936ESD | EXSO | 정전기 방지 온도조절형 인두, 소비전력:60W, 온도:220℃ ~ 480℃ | ICbanQ | 1 | 129800 | 1 |  | 0 |  | P001909039
LedSol 3001 | EXSO | 디지털 무연인두기, 75W, 온도: 100~500℃ | ICbanQ | 1 | 275000 | 1 |  | 0 |  | P007193509
LedSol-100 | EXSO | 아날로그 무연인두기 , 24V 75W, 온도: 200~480℃ | ICbanQ | 1 | 110000 | 1 |  | 0 |  | P007193511
LedSol-200 |  | 디지털 무연인두기, 24V 70W, 온도: 200~480℃ | ICbanQ | 1 | 132000 | 1 |  | 0 |  | P007193512
FX-888D(70W) | HAKKO | 디지털 무연인두기, 26V 70W, 온도: 200~480℃ | ICbanQ | 1 | 140000 | 1 | 2 | 280000 |  | P005688453
FX-951 | HAKKO | 디지털 무연인두기, 24V 75W, 온도: 200~450℃ | ICbanQ | 1 | 270000 | 1 |  | 0 |  | P005688454
T18-K | HAKKO | HAKKO FX-888(FX-8801) 전용 인두 칼팁 | ICbanQ | 1 | 12000 | 1 |  | 0 |  | P002116124
T18-3.5K | HAKKO | HAKKO FX-888(FX-8801) 전용 인두 칼팁 | ICbanQ | 1 |  | 1 |  | 0
T18-B | HAKKO | HAKKO FX-888(FX-8801) 전용 인두 팁 | ICbanQ | 1 | 6500 | 1 | 2 | 13000 |  | P002116123
B3474 | HAKKO | Rubber Cleaner
A1561 | HAKKO | HAKKO A1561 클리닝와이어 | ICbanQ | 1 | 4000 | 1 | 2 | 8000 |  | P004702618
A1559 | HAKKO | HAKKO A1559 스폰지 | ICbanQ | 1 | 4500 | 1 | 2 | 9000 |  | P004704819
SPPON 18 | HAKKO | HAKKO 18 SPPON DESOLDERING TOOL | ICbanQ | 1 | 16500 | 1 | 1 | 16500 |  | P004702809
18N.18G | HAKKO | HAKKO SPPON NOZZLE | ic114 | 1 | 4100
UL1007-AWG20 | UL전선 | 극세선 난연성 전선(UL전선) / AWG20 / 길이(30M) (검정색) | ICbanQ | 1 | 9000 | 1 | 1 | 9000 |  | P002329495
UL1007-AWG20 | UL전선 | 극세선 난연성 전선(UL전선) / AWG20 / 길이(30M) (빨강) | ICbanQ | 1 | 9000 | 1 | 1 | 9000 |  | P002329190
칩저항 키트 | Any vender | 1005 사이즈 F급(1%) 160종 칩저항 키트 - (100개들이) | ICbanQ | 1 | 180000 | 1 | 1 | 180000 |  | P001907055
JL-0232 적색 | Any vender | 더블 바나나플러그 / 적색 | ICbanQ | 1 | 1210 | 1 | 2 | 2420 |  | P005658758
GHG630DCE | BOSCH | 열풍기(히터건) (GHG630DCE) | ICbanQ | 1 | 101200 | 1 | 1 | 101200 |  | P007320842
ENGINEER SL-04 |  | ENGINEER SL-04 DESK-TOP LOUPE, 렌즈 직경 75mm, 배율 3X | ICbanQ | 1 | 40000 |  |  |  |  | P004704041
8611L |  | 8611L LED조명 확대경, 렌즈 직경 89mm, 배율 3X | ICbanQ | 1 | 45000 | 1 | 1 | 45000 |  | P004704064
673120
Pipette Main
P_value | Vendor | V_Desc | Agency | Q'ty | Cost | MOQ | 구매수량 | 구매금액 | 재고 | ICBanQ
BZT52C5V1S | Diodes | DIODE, ZENER, 5.1V, 0.2W, SOD-323 | ICbanQ | 3 | 60 | 1 | 120 | 7200 |  | P007475431 | LF용 포함 구매
Transformer 하네스 | [6 empty] | 10
P_value | Vendor | V_Desc | Agency | Q'ty | Cost | MOQ | 구매수량 | 구매금액 | 재고 | ICBanQ
51021-0500 | Molex | 1.25mm Pitch Housing, Female, 5-Pin | ICbanQ | 1 | 210 | 50 | 50 | 10500 |  | P005634254
09-50-1021 | Molex | 3.96mm Pitch SPOX™ Crimp Housing, Female, with Friction Ramp, 2-Pin | ICbanQ | 1 | 210 | 10 | 10 | 2100 |  | P005634535
08-70-1031 |  | SPOX Crimp Terminal 5194, 18-24 AWG, Brass | ICbanQ | 2 | 80 | 100 | 100 | 4000 |  | P005634546
GND 하네스
P_value | Vendor | V_Desc |  | Q'ty | Cost | MOQ | 구매수량 | 구매금액 | 재고 | ICBanQ
NA645 | 라이트컴 | Coms 컨넥터-DC파워 2.5Ø x 0.7(각형) | ICbanQ | 1 | 270 |  | 20 | 0 |  | P004707690
악어클립 대(검정색) | Any Vendor | 악어클립 대(검정색) | ICbanQ | 1 | 200 | 10 | 10 | 2000 |  | P007314617
악어클립 대(빨간색) | Any Vendor | 악어클립 대(빨간색) | ICbanQ | 1 | 200 | 10 | 10 | 2000 |  | P007314616
27800
700920
70092
771012

## Sheet2
Transformer 하네스 | [6 empty] | 10 |  |  | 2018-03-13
No | P_value | Vendor | V_Desc | Q'ty | Cost | 구매 Cost | 필요수량 | MOQ | 구매수량 | 구매금액 | ICBanQ
1 | 51021-0700 | Molex | 1.25mm Pitch Housing, Female, 7-Pin | 1 | 230 | 230 | 10 | 10 | 20 | 4600
2 | 51021-0500 | Molex | 1.25mm Pitch Housing, Female, 5-Pin | 1 | 210 | 210 | 10 | 50 | 50 | 10500 | P005634254
3 | 050058-8000 | Molex | 1.25mm Pitch Crimp Terminal, Female, 28-32 AWG | 12 | 480 | 40 | 120 | 100 |  |  |  | 양단 케이블 사용
4 | 09-52-4024 | Molex | 3.96mm Pitch Housing, Female, Friction Ramp, 2-Pin | 1 | 40 | 40 | 10 | 100 | 100 | 4000 | P005634496
5 |  |  | CRIMP TERMINAL 5239용 (3.96mm) | 2 | 80 | 40 | 10 | 100 | 100 | 4000 | P005634542
6 | 09-50-1021 | Molex | 3.96mm Pitch SPOX™ Crimp Housing, Female, with Friction Ramp, 2-Pin | 1 | 210 | 210 | 10 | 10 | 10 | 2100 | P005634535
7 | 08-70-1031 |  | SPOX Crimp Terminal 5194, 18-24 AWG, Brass | 2 | 80 | 40 | 10 | 100 | 100 | 4000 | P005634546
8 |  |  | AWG28 | [8 empty] | 양단 케이블 사용
| 50058 양단 1007 케이블 | Molex | 50058 양단 케이블 L=100mm, Red | 2 | 260 | 130 | 20 | 300 | 300
| 50058 양단 1007 케이블 | Molex | 50058 양단 케이블 L=100mm, Black | 8 | 1040 | 130 | 80 | 300 | 300 | 39000
GND 하네스
No | P_value | Vendor | V_Desc | Q'ty | Cost | 구매 Cost | 필요수량 | MOQ | 구매수량 | 구매금액 | ICBanQ
1 | NA645 | 라이트컴 | Coms 컨넥터-DC파워 2.5Ø x 0.7(각형) | 1 | 270 |  | 20 |  | 20 | 0 | P004707690 | 3/29 - 견적 요청
2 |  |  | 케이블
3 | 악어클립 대(검정색) | Any Vendor | 악어클립 대(검정색) | 1 | 200 | 200 | 10 | 10 | 10 | 2000 | P007314617
| 악어클립 대(빨간색) | Any Vendor | 악어클립 대(빨간색) | 1 | 200 | 200 | 10 | 10 | 10 | 2000 | P007314616
| T1820 | 라이트컴 | Coms 터미널(100pcs)/ Ring단자, RVM 1.25-3.5, 빨강, 3.7mm |  |  | 2200 |  |  |  |  | 100pcs